| Unit code | SISXFAC008 |
| --- | --- |
| Unit title | Monitor and maintain facility plant and equipment |
| Application | This unit describes the performance outcomes, skills and knowledge required to complete periodic and routine inspections of facility plant and equipment. It requires the ability to complete minor maintenance on equipment. Complex inspections, diagnoses and repairs are referred to specialist technicians. This unit applies to any type of sport, fitness or recreation organisation including commercial, not-for-profit, community and government organisations. It can be applied to any type of facility, and to specific types of plant and equipment. It has particular application to technical operators, but can apply to other individuals working at different levels of responsibility. All would be guided by manufacturer instructions, and organisational inspection and maintenance schedules. The skills in this unit must be applied in accordance with Commonwealth and State or Territory legislation, Australian standards and industry codes of practice. |
| Pre-requisite unit | Nil 13/Dec/2022 |
| Competency field | Facility Management |
| Unit sector | Cross-Sector |
| Elements | Performance criteria |
| 1. Complete periodic inspections of facility plant and equipment | 1.1 Review organisational schedules for inspection requirements of plant and equipment 1.2 Complete routine inspections of plant and equipment according to organisational schedules and manufacturer instructions 1.3 Complete required organisational reports on safety and operational effectiveness of plant and other equipment 1.4 Identify and promptly report plant and equipment irregularities to appropriate personnel |
| 2. Complete minor maintenance | 2.1 Review organisational schedules for routine maintenance requirements of plant and equipment 2.2 Erect safety signs and barriers to isolate work area 2.3 Implement equipment cleaning processes that avoid corrosion and deterioration 2.4 Replace consumable items according to maintenance schedules and manufacturer instructions 2.5 Complete minor non-specialist equipment repairs according to manufacturer instructions and organisational safety practices 2.6 Report required repairs outside scope of skills and responsibility according to organisational procedures 2.7 Complete repair and maintenance records according to organisational procedures 2.8 Document record keeping requirements for maintenance activities |
| Reading skills to: - interpret potentially unfamiliar and complex manufacturer instructions. Writing skills to: - use fundamental sentence structure to complete basic inspection, repair and maintenance forms and reports that require factual information. Numeracy skills to: - extract, interpret, and record sometimes complex numerical data, symbols and abbreviations involving pressure, degrees, volume, percentages and ratios in manufacturer instructions, inspection schedules and record keeping documents - interpret, use and record temporal data, including minutes, hours, days and weeks. |  |
| Range of conditions |  |
| Assessment requirements |  |
| Performance evidence | Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and: correctly interpret plant inspection schedules, and follow manufacturer instructions to complete two routine inspections of sport, fitness or recreation facility plant correctly interpret maintenance schedules, and follow manufacturer instructions to complete the following activities: - two routine maintenance tasks for facility equipment - two minor non-specialist repairs on facility equipment - for each inspection, repair and maintenance activity, complete accurate records |
| Knowledge evidence | Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit: organisational procedures for inspecting and maintaining plant and equipment, and for record keeping and reporting organisational: - role responsibilities, boundaries and reporting lines for inspection, repair and maintenance activities - work health and safety practices for inspecting and maintaining plant and equipment specific to the sport, fitness or recreation environment, plant and equipment: - public health and safety implications of inadequately maintained equipment in facilities - key functions and operational features of plant, and typical periodic inspection schedules - types of plant inspections, maintenance and repairs referred to specialist technicians for facility equipment: - tools, consumables and methods used to clean and maintain equipment in safe and optimum condition - common types of consumables, and methods used to replace these - tools and methods used to complete common types of minor, non-specialist repairs - types of repairs referred to specialist technicians formats and inclusions of: - organisational inspection and maintenance schedules for plant and equipment - manufacturer instructions for inspection, repair and maintenance of plant and equipment - records and reports for inspection, condition, repair, and maintenance, and how to complete these. |
| Assessment conditions | Assessment of performance evidence may be in a workplace setting or an environment that accurately represents a real workplace. Skills must be demonstrated in a sport, fitness or recreation facility. Assessment must ensure use of: - facility plant - facility equipment - repair and maintenance tools, equipment and consumable resources - organisational inspection and maintenance schedules for plant and equipment - manufacturer instructions for inspection, repair and maintenance of plant and equipment - template records and reports for inspection, repair, and maintenance - organisational procedures for inspecting and maintaining plant and equipment, and for record keeping and reporting. Assessors must satisfy the Standards for Registered Training Organisations requirements for assessors, and: have a collective period of at least three years’ experience as a fishing leader, guide or instructor, where they have applied the skills and knowledge covered in this unit of competency; the three years’ experience can incorporate full and or part time experience. |
| Unit mapping information | Supersedes SISXFAC004 |
| Links | Link to Companion Volume Implementation Guide https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1ca50016-24d2-4161-a044-d3faa200268b |